## Scenario summary
Summary of annual infrastructure, energy, flexibility, and economic outcomes across optimization scenarios
Method | Monolithic
Selected baseline | R01: Chargers + PV + BESS ¦ No redir. ¦ noVIPV
Metric | Unit | Chargers + PV + BESS
Redirection |  | No redir. | No redir.
VIPV input |  | noVIPV | VIPV50_Wp700
Run label |  | R01: Chargers + PV + BESS ¦ No redir. ¦ noVIPV | R02: Chargers + PV + BESS ¦ No redir. ¦ VIPV50_Wp700
Charging infrastructure
Home chargers, exogenous (7 kW) | count | 25422 | 25422
Slow chargers (11 kW) | count | 606 | 617
Medium chargers (22 kW) | count | 2608 | 2418
Fast chargers (50 kW) | count | 165 | 163
Public charger capacity (kWh/30 min) | kWh/30 min | 36146 | 34066.5
PV panels (500 W) | panels | 69810 | 63649
Battery units (10 kWh) | units | 2295 | 2132
Energy flows (kWh/yr)
Grid electricity purchased | kWh/yr | 67502170.0444 | 61877524.1486
Direct grid supply to chargers | kWh/yr | 63431710.3542 | 58141772.771
Grid energy to BESS | kWh/yr | 4070459.6902 | 3735751.3777
PV electricity used locally | kWh/yr | 28675191.482 | 25938222.5658
Direct PV supply to chargers | kWh/yr | 22127606.656 | 19775757.498
PV energy to BESS | kWh/yr | 6547584.826 | 6162465.0678
Battery discharge | kWh/yr | 9557125.8752 | 8908154.273
Redirected public charging demand | kWh/yr
Derived demand and flexibility indicators
Estimated redirected charging trip equivalents/yr | trips/yr
Whole redirected trip bundles/yr | bundles/yr
Share of public demand redirected | %
PV use relative to CPO charging demand | % | 30.15% | 29.87%
Annual public charging demand | kWh/yr | 86100393.9227 | 79342807.8976
Annual residual home demand at CPO boundary | kWh/yr | 9016048.9627 | 7482877.7365
Annual optimizer-boundary charging demand | kWh/yr | 95116442.8855 | 86825685.634
Annual total MATSim charging demand | kWh/yr | 208587644.8092 | 192673288.846
Annual unmet charging demand | kWh/yr | 0 | 1.092
Unmet demand share of optimizer-boundary demand | % | 0% | 1.258e-06%
Annual economic terms (SEK/yr)
Public charging revenue | SEK/yr | 585275260.5168 | 534697014.0536
Grid electricity cost | SEK/yr | 115563839.151 | 106080617.3057
User-redirection incentive cost | SEK/yr
Distance compensation | SEK/yr
Price compensation | SEK/yr
Unmet demand penalty | SEK/yr | 0 | 20201.0958
Annualized charger CapEx | SEK/yr | 24078474.1395 | 22988136.4305
Annualized PV CapEx | SEK/yr | 27305064.54 | 24895287.966
Annualized BESS CapEx | SEK/yr | 8034224.6925 | 7463602.198
Annualized PV and BESS CapEx | SEK/yr | 35339289.2325 | 32358890.164
Net profit | SEK/yr | 410293657.9938 | 373249169.0576
Comparative indicators
Net profit gain vs selected baseline | SEK/yr | 0 | -37044488.9362
Net profit gain vs selected baseline (%) | % | 0% | -9.029%
Grid electricity reduction vs selected baseline | kWh/yr | 0 | 5624645.8957
Grid electricity reduction vs selected baseline (%) | % | 0% | 8.333%
Public charger capacity reduction vs selected baseline | kWh/30 min | 0 | 2079.5
Net profit gain from user redirection | SEK/yr

## Baseline changes
Run | Metric | Value | Baseline | Absolute change (run - baseline) | Relative change
R01: Chargers + PV + BESS ¦ No redir. ¦ noVIPV | Net profit | 410293657.9938 | 410293657.9938 | 0 | 0%
R01: Chargers + PV + BESS ¦ No redir. ¦ noVIPV | Grid electricity purchased | 67502170.0444 | 67502170.0444 | 0 | 0%
R01: Chargers + PV + BESS ¦ No redir. ¦ noVIPV | Public charger capacity | 36146 | 36146 | 0 | 0%
R01: Chargers + PV + BESS ¦ No redir. ¦ noVIPV | Slow chargers | 606 | 606 | 0 | 0%
R01: Chargers + PV + BESS ¦ No redir. ¦ noVIPV | Medium chargers | 2608 | 2608 | 0 | 0%
R01: Chargers + PV + BESS ¦ No redir. ¦ noVIPV | Fast chargers | 165 | 165 | 0 | 0%
R01: Chargers + PV + BESS ¦ No redir. ¦ noVIPV | PV panels | 69810 | 69810 | 0 | 0%
R01: Chargers + PV + BESS ¦ No redir. ¦ noVIPV | Battery units | 2295 | 2295 | 0 | 0%
R01: Chargers + PV + BESS ¦ No redir. ¦ noVIPV | PV electricity used locally | 28675191.482 | 28675191.482 | 0 | 0%
R01: Chargers + PV + BESS ¦ No redir. ¦ noVIPV | Battery discharge | 9557125.8752 | 9557125.8752 | 0 | 0%
R01: Chargers + PV + BESS ¦ No redir. ¦ noVIPV | Annual slack | 0 | 0 | 0
R02: Chargers + PV + BESS ¦ No redir. ¦ VIPV50_Wp700 | Net profit | 373249169.0576 | 410293657.9938 | -37044488.9362 | -9.029%
R02: Chargers + PV + BESS ¦ No redir. ¦ VIPV50_Wp700 | Grid electricity purchased | 61877524.1486 | 67502170.0444 | -5624645.8957 | -8.333%
R02: Chargers + PV + BESS ¦ No redir. ¦ VIPV50_Wp700 | Public charger capacity | 34066.5 | 36146 | -2079.5 | -5.753%
R02: Chargers + PV + BESS ¦ No redir. ¦ VIPV50_Wp700 | Slow chargers | 617 | 606 | 11 | 1.815%
R02: Chargers + PV + BESS ¦ No redir. ¦ VIPV50_Wp700 | Medium chargers | 2418 | 2608 | -190 | -7.285%
R02: Chargers + PV + BESS ¦ No redir. ¦ VIPV50_Wp700 | Fast chargers | 163 | 165 | -2 | -1.212%
R02: Chargers + PV + BESS ¦ No redir. ¦ VIPV50_Wp700 | PV panels | 63649 | 69810 | -6161 | -8.825%
R02: Chargers + PV + BESS ¦ No redir. ¦ VIPV50_Wp700 | Battery units | 2132 | 2295 | -163 | -7.102%
R02: Chargers + PV + BESS ¦ No redir. ¦ VIPV50_Wp700 | PV electricity used locally | 25938222.5658 | 28675191.482 | -2736968.9162 | -9.545%
R02: Chargers + PV + BESS ¦ No redir. ¦ VIPV50_Wp700 | Battery discharge | 8908154.273 | 9557125.8752 | -648971.6022 | -6.79%
R02: Chargers + PV + BESS ¦ No redir. ¦ VIPV50_Wp700 | Annual slack | 1.092 | 0 | 1.092

## Redirection effects
Information
No unique no-redirection/with-redirection run pairs were found for identical dataset, VIPV input, and technology.

## Scenario ranking
Run | Net profit (SEK/yr) | Grid purchase (kWh/yr) | Public charger capacity (kWh/30 min) | PV use share | Annual slack (kWh/yr) | Profit rank (1=highest) | Grid rank (1=lowest) | Capacity rank (1=lowest) | PV-use rank (1=highest) | Slack rank (1=lowest)
R01: Chargers + PV + BESS ¦ No redir. ¦ noVIPV | 410293657.9938 | 67502170.0444 | 36146 | 30.15% | 0 | 1 | 2 | 2 | 1 | 1
R02: Chargers + PV + BESS ¦ No redir. ¦ VIPV50_Wp700 | 373249169.0576 | 61877524.1486 | 34066.5 | 29.87% | 1.092 | 2 | 1 | 1 | 2 | 2

## Run metadata
Run | Method | Dataset | VIPV scenario | Technology | PV enabled | BESS enabled | Redirection | Requested convergence gap (%) | Achieved/certified gap (%) | Termination | Solve/decomposition time (s) | Total runtime (s) | Peak process-tree RSS (MB) | Threads | Run folder
R01: Chargers + PV + BESS ¦ No redir. ¦ noVIPV | Monolithic | full | noVIPV | Chargers + PV + BESS | TRUE | TRUE | No redirection | 0.01 | 0 | optimal | 337.2598 | 741.4384 | 22092.8984 | 8 | C:\Users\omkarp\IdeaProjects\GotVIPV\src\main\python\Opti\runs\2026-08-12_132848_full_noVIPV_no_redirection_withPV_withBESS_slackpenalty
R02: Chargers + PV + BESS ¦ No redir. ¦ VIPV50_Wp700 | Monolithic | full | VIPV50_Wp700 | Chargers + PV + BESS | TRUE | TRUE | No redirection | 0.01 | 0.001 | optimal | 458.1254 | 835.5445 | 21922.9648 | 8 | C:\Users\omkarp\IdeaProjects\GotVIPV\src\main\python\Opti\runs\2026-08-12_142251_full_VIPV50_Wp700_no_redirection_withPV_withBESS_slackpenalty

## Raw metrics
Metric | R01: Chargers + PV + BESS ¦ No redir. ¦ noVIPV | R02: Chargers + PV + BESS ¦ No redir. ¦ VIPV50_Wp700
PV_panels_installed | 69810 | 63649
active_redirection_arcs | 0 | 0
annual_home_demand_total_kWh | 122487250.8864 | 113330480.9484
annual_home_private_served_kWh | 113471201.9237 | 105847603.212
annual_home_residual_demand_kWh | 9016048.9627 | 7482877.7365
annual_optimizer_boundary_demand_kWh | 95116442.8855 | 86825685.634
annual_profit_SEK | 410293657.9938 | 373249169.0576
annual_public_demand_kWh | 86100393.9227 | 79342807.8976
annual_slack_kWh | 0 | 1.092
annual_total_MATSim_charging_demand_kWh | 208587644.8092 | 192673288.846
battery_discharge_kWh | 9557125.8752 | 8908154.273
battery_units_installed | 2295 | 2132
capacity_ratio_fast | 0.42497 | 0.41
capacity_ratio_medium | 0.12503 | 0.11968
capacity_ratio_slow | 0.026707 | 0.03003
capacity_upper_bound_fast_kWh | 72270000 | 71394000
capacity_upper_bound_medium_kWh | 502613760 | 465996960
capacity_upper_bound_slow_kWh | 58394160 | 59454120
capex_BESS_SEK | 8034224.6925 | 7463602.198
capex_PV_BESS_SEK | 35339289.2325 | 32358890.164
capex_PV_SEK | 27305064.54 | 24895287.966
capex_chargers_SEK | 24078474.1395 | 22988136.4305
capex_chargers_fast_SEK | 7846371.9675 | 7751264.4285
capex_chargers_medium_SEK | 14173708.032 | 13141114.272
capex_chargers_slow_SEK | 2058394.14 | 2095757.73
chargers_fast_installed | 165 | 163
chargers_medium_installed | 2608 | 2418
chargers_slow_installed | 606 | 617
dataset | full | full
derived_capacity_reduction | 0 | 2079.5
derived_grid_reduction | 0 | 5624645.8957
derived_grid_reduction_pct | 0 | 0.083325
derived_profit_gain | 0 | -37044488.9362
derived_profit_gain_pct | 0 | -0.090288
derived_pv_use_share | 0.30147 | 0.29874
derived_redirection_profit_gain
derived_slack_share | 0 | 1.2576e-08
energy_fast_kWh | 30712750.4093 | 29271209.9301
energy_medium_kWh | 62844148.4749 | 55769078.2844
energy_redirected_kWh | 0 | 0
energy_slow_kWh | 1559544.0012 | 1785396.3276
grid_cost_SEK | 115563839.151 | 106080617.3057
grid_direct_cost_SEK | 109734240.4995 | 100728616.7668
grid_direct_kWh | 63431710.3542 | 58141772.771
grid_to_battery_cost_SEK | 5829598.6514 | 5352000.5389
grid_to_battery_kWh | 4070459.6902 | 3735751.3777
grid_total_kWh | 67502170.0444 | 61877524.1486
home_chargers_exogenous | 25422 | 25422
implied_stationary_PV_yield_kWh_per_kWp_year | 951.0778 | 951.0778
max_abs_soc_gap_Jan0_Dec48_kWh | 2.3877 | 0
public_charger_capacity_kWh_per_slot | 36146 | 34066.5
pv_direct_kWh | 22127606.656 | 19775757.498
pv_to_battery_kWh | 6547584.826 | 6162465.0678
pv_used_total_kWh | 28675191.482 | 25938222.5658
pvgis_detected_input_unit | W | W
redirection_distance_cost_SEK | 0 | 0
redirection_full_trip_bundles_annual | 0 | 0
redirection_price_compensation_SEK | 0 | 0
redirection_total_cost_SEK | 0 | 0
redirection_trip_equivalents_annual | 0 | 0
revenue_all_chargers_SEK | 585275260.5168 | 534697014.0536
revenue_fast_SEK | 199632877.6606 | 190262864.5456
revenue_medium_SEK | 377064890.8496 | 334614469.7064
revenue_slow_SEK | 8577492.0066 | 9819679.8016
share_redirected_public_demand | 0 | 0
slack_penalty_SEK | 0 | 20201.0958
vipv_scenario | noVIPV | VIPV50_Wp700

## Consistency checks
Check | Status | Details
Same solution method | PASS | Monolithic
Same dataset size | PASS | full
Requested convergence gaps comparable | PASS | 0.01%, 0.01%
Run count | PASS | 2
VIPV input scenarios | INFO | VIPV50_Wp700, noVIPV